Alignment of wobble2 Images

On a card placed close to the camera shutter the relative positions of the images appear as below when properly aligned:

~2-3 mm

South beam				  North beam

~1 mm

Reference beam