## Slide 1: Coupling light into a space-based microspectrograph
Emma Lindley
Supervised by Joss Bland-Hawthorn and Sergio Leon-Saval

## Slide 2: Talk Outline
The world of astrophotonics
  Why ‘go photonic’?
  Photonic Integrated Multimode MicroSpectrograph (PIMMS)
My project: create a prototype waveguide to be included in PIMMS.
The three stages:
  Design
  Manufacture
  Testing
What’s next?

## Slide 3: What is astrophotonics?
Astronomy
as·tron·o·my
noun /ə’stränəmē/
1. The branch of science that deals with celestial objects, space, and the physical universe as a whole
Photonics
pho·ton·ics
noun (plural) /fō’täniks/
1. The branch of technology concerned with the properties and transmission of photons, for example in fiber optics

## Slide 4: Astronomical instruments

## Slide 6: The (astro)photonic advantage
Reductions in size and cost
No loss in performance
“One size fits all” devices
Operating at or close to diffraction limit
Can incorporate photonic processing
  Suppression of atmospheric emission lines

## Slide 7: Photonic Integrated Multimode MicroSpectrograph (PIMMS)
Works in visible and IR wavelength bands
Number of fibres can vary

## Slide 8: PIMMS in space (90 x 135mm)

## Slide 9: My project
Can we reduce the required detector size?
Concept: feed the SMF outputs into a 2D waveguide with converging tracks
?

## Slide 10: Designing a waveguide
The RSoft Photonics Suite

## Slide 11: Things to consider when designing
Radiative losses
  Light coupling into neighbouring features
  Leakage at bends
Coupling & throughput
  What size ridges are best for accepting SMF input?
Keeping the light single-moded
Sometimes compromise is required!

## Slide 12: Radiative losses

## Slide 13: Radiative losses

## Slide 14: Throughput vs. Ridge size
Chart: Width = 10um
| 10 | 9 | 8 | 7 | 6 | 5 | 4
Avg Power guided | 0.93 | 0.945 | 0.955 | 0.935 | 0.9 | 0.845 | 0.75
Chart: Width = 9um
| 9 | 8 | 7 | 6 | 5 | 4
Avg Power guided | 0.965 | 0.975 | 0.965 | 0.925 | 0.86 | 0.765
Chart: Width = 8um
| 8 | 7 | 6 | 5 | 4
Avg Power guided | 0.98 | 0.965 | 0.925 | 0.865 | 0.665
Height (um)
Height (um)
Height (um)
Throughput
Throughput
Throughput
The best throughput is achieved when the ridge dimensions match the input SMF’s dimensions.

## Slide 15: Modes of the ridge
(For single mode operation, V < 2.405)

## Slide 16: Thinking about manufacture
What techniques are available to us?
  All manufacturing to be done in-house at Bandwidth Foundry International (BFI)
What materials are available?
  Long and short term availability
  Materials must suit the manufacturing technique being used
Final refinements to design can only be made when materials are chosen!

## Slide 17: Making a waveguide at BFI
Soft lithography

## Slide 18: Materials
The unexpected answer...glue

## Slide 19: Cross-section of a waveguide
Substrate
NOA-65 (n=1.52)
NOA-68 (n=1.54)

## Slide 20: How well does it reproduce the design?

## Slide 21: How well does it reproduce the design?

## Slide 22: How well does it reproduce the design?

## Slide 23: How well does it reproduce the design?

## Slide 24: How to test the finished product
Inject light from a tunable laser
Use an IR camera/power meter to measure field at exit
Testing delayed by need for access to BFI facilities – competing with commercial projects

## Slide 25: Future developments
Integration into the satellite version of PIMMS
Access to a broader range of materials
A visible-wavelength version
Increased number of tracks to work with a larger number of fibre inputs